## Slide 1: Г. Д. Алексеев (ЛЯП ОИЯИ) «Статус работ по мюонной системе эксперимента ПАНДА»
* Краткий обзор системы :
- инженерное описание (под-системы, детекторы)
- оптимизация системы (мюоны от разных процессов)
- основные численные параметры
* Принцип действия:
- пробежная система как линейный «калориметр» мюонов
- пробежная система как грубый калориметр адронов (нейтроны ! )
- главная задача – подавление пионного фона
* Прототипы:
- полноразмерный (~2м х 4м)
- полномасштабный (10 тонн, ~4600 каналов считывания информации)
- предварительные результаты пучковых испытаний в ЦЕРН
* Текущее состояние дел:
- подготовка полномасштабного прототипа и модернизация пучка в ЦЕРН
- одобрение проекта в FAIR (принят -> сентябрь 2014 )

## Slide 2: The layout of Muon System using the technique of Range System (with the number of MDT detectors for each particular subsystem)

## Slide 3: Mini Drift Tube cross section (left) and layout (right)

## Slide 4: Oscillograms of single signals: from the anode wire (1)and the strip (2); the conversion factors are 60 and 480 mV/μA, respectively

## Slide 5: l+l- + X process - selected as benchmark process for design/tuning of PANDA Muon System

## Slide 6: Muon momenta distributions for different processes in the sector 0°– 20° of polar angle

## Slide 7: Basic numbers for Muon System instrumentation

## Slide 8: Response of FRS to muon (a) and pion (b) at 5 GeV (single event) Ecal /shashlik Forward Range System

## Slide 9: RS response (Target Spectrometer Barrel structure) to muons and pions with initial kinetic energy of 500 MeV; MC sample for 20 events is shown for demonstration

## Slide 10: Distributions of particle range in RS for muon and pion beams (dashed area) with initial kinetic beam energy of 200 MeV (a) and 500 MeV (b) .

## Slide 11: Muon range in number of layers(top) and the average number of hits (bottom) in RS as a function of initial kinetic energy

## Slide 12: RS energy resolution for hadrons in different readout modes

## Slide 13: Suppression of fake muons from πµν decay
Demonstration of µν decay in the Inner detector of PANDA setup: decay muon (red) stops in the RS while neutrino (green) leaves the volume
The kinetic energy spectrum, kink angle distribution and the kinetic energy versus angle correlation plot for muons produced in (800 MeV)µν decay

## Slide 14: Full Scale (2 x 4 m2) prototype in work position at CERN/COMPASS – study of long strips readout

## Slide 15: Range System prototype (Fe absorber and support structure) in Dubna in vertical position (for further tests with cosmic at CERN)

## Slide 16: Assembly of RSP Debugging and adjustment of DAQ on cosmic; RSP is fully equipped with A2DB-32, ADB-32 , Asum-96 and QTC cards
VME/6U crate, MWDB cards
VME/9U DAQ crate
NIM/trigger crate

## Slide 17: Assembly of RSP Restricted set (32 wires x 20 planes) of wire R/O is left for final DAQ configuration
Restricted set of wire R/O (32 wires x 20 planes)

## Slide 18: COSMIC MUONS Trigger: S3 (20x20cm2) & S4 (60x20 cm2) on top of RSP
32 cm
~150 cm

## Slide 19: COSMIC MUONS Trigger: S3 (20x20cm2) on top & S4 (60x20 cm2) on bottom of RSP
Barrel
FRS
EC+MF

## Slide 20: Placement of the RSP in T9 beam zone

## Slide 21: Table of conditions for written events
P[Gev/c] | Trigger | Composition | N of events | file # , Comments
Spectrum | S3*S4 | cosmic | 635 | f39, S3 & S4 on RSP top
Spectrum | S3*S4 | cosmic | 8375 | f41,S3 on top & S4 on bottom
0.5 | S1*S2 | - (e,μ,π) | 6575 | f85, strips on
0.5 | S1*S2 | + (e,μ,π,p) | 27374 | f83, strips on
1 | S1*S2 | + (e,μ,π,p) | 3087 | f65
1 | S1*S2*vetoC1 | + (μ,π,p) | 90 000 | f68
2 | S1*S2 | + (e,μ,π,p) | 3161 | f80, strips on
2 | S1*S2+Pb | + (μ,π,p) | 1087 | f81, 2.5 cm Pb brick in beam, strips on
3 | S1*S2 | + (e,μ,π,p) | 11766 | f77
3 | S1*S2*C2 | + (e,μ) | 3283 | f78
3 | S1*S2*C2+Pb | + (μ) | 299 | f79, 2.5 cm Pb brick in beam, strips on
5 | S1*S2 | + (e,μ,π,p) | 9702 | f56
5 | S1*S2*C1*C2 | + (e) | 2181 | f57
5 | S1*S2*C1*C2 | + (e,μ) | 1217 | f58
5 | S1*S2*C1*C2 | + (e,μ) | 200 000 | f59
5 | S1*S2 | + (e,μ,π,p) | 6407 | f69, strips on
5 | S1*S2*C2 | + (e,μ) | 3201 | f70, strips on
5 | S1*S2*C2 | + (e,μ) | 13266 | f71, strips on
7 | S1*S2 | + (e,μ,π,p) | 11940 | f75, strips on
7 | S1*S2*C2 | + (e,μ) | 3492 | f76, strips on
10 | S1*S2 | + (e,μ,π,p) | 9899 | f72, strips on
10 | S1*S2*C2 | + (e,μ) | 1213 | f73, strips on
10 | S3*S4 | + (e,μ,π,p) | 7405 | f74, beam + halo, strips on

## Slide 22: BEAM: e,µ,π,p 0,5 GeV/c, trigger: S1 (Ø 11,5 cm) & S2 (Ø 3,5 cm) (here and below fired wires are given in green and strips – in blue, strip board is turned by 90 deg.)
µ
?
?
?

## Slide 23: BEAM: e,µ,π,p 3 GeV/c, trigger: S1 (Ø 11,5 cm) & S2 (Ø 3,5 cm)
µ
h
µ
h

## Slide 24: BEAM: e,µ,π,p 7 GeV/c, trigger: S1 (Ø 11,5 cm) & S2 (Ø 3,5 cm)
µ
h
h?
e?

## Slide 25: BEAM: e,µ,π,p 10 GeV/c, trigger: S3 & S4 (beam + halo)
µ
halo µ
e
halo µ
halo µ ?
halo h
halo h
h
µ
µ

## Slide 26: DAQ R/O gate ~ 1.3 µs
run F74, event #164
halo muon
beam muon Δt ~ 1000ns
10 GeV BEAM
Example of two superimposed muon tracks disentangled with timing information
full event

## Slide 27: DAQ R/O gate ~ 1.3 µs
beam hadron Δt ~300ns
halo hadron
full event
run F74, event #272
10 GeV BEAM
Example of two superimposed hadrons disentangled with timing information

## Slide 28
DAQ R/O gate ~ 1.3 µs
full event
run F74, event #560
beam muon Δt ~ 1050ns
halo particle(s) ?
10 GeV BEAM
Example of few superimposed particles disentangled with timing information

## Slide 29: Assumed upgrades to T9 beam line for π/μ separation < 1-2 GeV/c: S1,S2 time-of-flight scintillator counters based at ~ 20 m to each other, pressurized Cherenkov counter C3, magnetic analysis of incoming muon momenta with ~ +/- 1% accuracy

## Slide 30: Статус мюонной системы на сегодня
Прототипы:
- полномасштабный - дооборудование дополнительными
экранами всех (22) детектирующих плоскостей, подключение
цифровой электроники (4600 каналов), начало тестирования
- с декабря 2014
- полноразмерный (~2м х 4м) – смонтирован в ЦЕРН на
установке COMPASS, дооборудование дополнительным
экраном и стриповой электроникой, начало тестирования – с марта 2015
Статус проекта:
- первый запрос финансирования в Росатом – 2008
- первое представление проекта – июнь 2011, Протвино
- принятие проекта коллаборацией – сентябрь 2012, Париж
- положительная рекомендация рефери – июль 2014, ЦЕРН
- одобрение FAIR Council – проект принят,сентябрь 2014, FAIR

## Slide 31: Backup slides

## Slide 32: An efficiency of / separation by range in RS: primary particles - for those events in which only primary muons and pions passing through RS are taken into account; all - all particles, no event selection (combined MC setup -> ECal+Coil+RS)

## Slide 33: Full Scale Prototype at CERN
Skeleton view of the Full Scale prototype package with crossed MDTs and strips with corresponding readout electronic cards
FSP position in the COMPASS experimental area; the prototype is marked with white dashed rectangle.

## Slide 34: RS Prototype equipped with detecting planes and electronics

## Slide 35: RS prototype equipped with FE analog and digital electronics (4600 channels of wire and strip R/O)

## Slide 36: T9 beam particles ID
P[Gev/c] | 0.5 | 1.0 | 1.5 | 2.0 | 2.5 | 3.0 | ≥3.5
C1 | e | e | e | e | e | e | e+µ
C2 | e | e | e | e | e+µ | e+µ | e+µ+π
C3 | e | e+µ e+µ+π | e+µ e+µ+π | e+µ e+µ+π | e+µ+π | e+µ+π | e
TOF | e,µ,π,p | e,µ,π,p | p | p | p | p | p
C1,C2,C3 - Cherenkov gas threshold counters with
variable pressure up to 2, 3.5 and 60 bar (CO2) .
TOF - time of flight plastic scintillator system (L=21.4m)
with resolution ~ 100ps (scintillator - BC408,
PMT - Hamamatsu R5946).

## Slide 37: PANDA Collaboration Meeting, Protvino 9 June 2011 G.Alexeev (for muon group)